## L2 Locations
[8 empty] | Barpeta |  | DIBRUGARH |  | SILCHAR |  | Diphu
S No | EQP. NO. | NAME OF EQUIPMENT | BRAND or its Equivalent | Size: WIDTH X DEPTH X HEIGTH (in MM) | Model or its equivalent | Site wise QTY. | Applicable GST in % | Rate without GST | Value | Rate without GST | Value | Rate without GST | Value | Rate without GST | Value
[9 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | MAIN KITCHEN | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
1 | MK1 | TILTING BOILING PAN ( 100 LIT ) ELECTRIC | ELECTROLUX or equivalent | 1068x780x900 | EBE100AWF | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
2 | MK3 | BULK COOKING BURNER | Customised | 750X750X700 | FABRICATED | 3 |  |  | 0 |  | 0 |  | 0 |  | 0
3 | MK4 | FLOOR DRAINSS with SS Gratings | Customised | 1000X500X 150 | FABRICATED | 2 |  |  | 0 |  | 0 |  | 0 |  | 0
4 | MK5 | EXHAUST HOOD | REVAC or equivalent | 5300X 1500X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
5 | MK5A | FIRE SEPERATION SYSTEM | ANSUL or equivalent |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
6 | MK6 | FLOOR DRAINSS with SS Gratings | Customised | 1800X350X150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
7 | MK7 | WORK TABLE WITH SINK | Customised | 1200X700X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
8 | MK12 | WORK TABLE WITH SINK | Customised | 900X700X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
9 | MK13 | GARBAGE BIN | BOUGHTOUT |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
10 | MK14 | SPARE |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
11 | MK15 | FOUR BURNER GAS RANGE WITH ELECTRIC OVEN BELOW | Customised | 900X900X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
12 | MK15A | LPG gas manifold with gas safty device and alarm fabricated cover for 6 cylinder | Customised |  | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
13 | MK17 | TWO BURNER GAS RANGE | Customised | 1000X900X750 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
14 | MK18 | HOT PLATE | Customised | 500X900X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
15 | MK20 | EXHAUST HOOD | REVAC or equivalent | 4200X2800X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
16 | MK20A | FIRE SEPERATION SYSTEM | ANSUL or equivalent |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
17 | MK21 | CHAPATI PLATE WITH PUFFER | Customised | 1200X 700X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
18 | MK25 | UNDER COUNTER FLOUR BINS | Customised | 650X450X700 | FABRICATED | 2 |  |  | 0 |  | 0 |  | 0 |  | 0
19 | MK26 | WORK TABLE | Customised | 1250X700X850+150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
20 | MK27 | DUEL DECK WALL MOUNTED OVERHEAD SHELVE | Customised | 1250X300X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
21 | MK29 | DUEL DECK WALL MOUNTED OVERHEAD SHELVE | Customised | 1723X300X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
22 | MK30 | WORK TABLE WITH SINK | Customised | 900X700X850+150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
23 | MK31 | DUEL DECK WALL MOUNTED OVERHEAD SHELVE | Customised | 900X300X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
24 | MK32 | TRAY TROLLEY WITH WARMER ( 60X40) | Customised | 475X670X1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
25 | MK32 | TRAY TROLLEY ( 60X40) TRAY | Customised | 475X670X1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
26 | MK34 | AUTOMATIC HAND WASH SINK - WALL MOUNTED | Customised | 475X500X350 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
27 | MK35 | WORK TABLE WITH SINK | Customised | 1800X700X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
28 | MK37 | GARBAGE BIN | BOUGHT OUT |  |  | 2 |  |  | 0 |  | 0 |  | 0 |  | 0
29 | MK41 | NON HEATED CABINETS | Customised | 1723X450X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
30 | MK42 | WALL MOUNTED FLY CATCHER | BOUGHT OUT |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
31 | MK43 | CEILING MOUNTED FLY CATCHER | BOUGHT OUT |  |  | 3 |  |  | 0 |  | 0 |  | 0 |  | 0
32 | MK 44 | MASALA TROLLEY WITH 12 GN PANS 6 INCH DEEP | Customised | 750X450X850 | FABRICATED | 3 |  |  | 0 |  | 0 |  | 0 |  | 0
33 | VP1 | HAND WASH SINK | Customised | 475 X 500 X 350 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
34 | VP7 | SIX SLOT TOASTER | LACOR or equivalent |  | 69296 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
35 | VP7A | S /W GRILLER | ELECTROLUX or equivalent | 260x435x235 | PGRR1 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
36 | VP10 | WORK TABLE WITH SINK | Customised | 1250X700X850+150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
37 | VP11 | POTATO PEELER | ELECTROLUX or equivalent | 440x690x750 | T15E1 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
38 | VP12 | ONION POTATO BIN | Customised | 1100X950X1500 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
39 | VP 13 | CHEST FREEZER ( ICE CREAM FREEZER) | BLUESTAR or equivalent | 574X564X845 | CFVSD100DHPW | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | POT WASH | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
40 | PW1 | POT WASH RACK | MASTER EQUIPMENTS | 900X600X1800 | FABRICATED | 3 |  |  | 0 |  | 0 |  | 0 |  | 0
41 | PW3 | GARBAGE BINS | BOUGHT OUT |  |  | 2 |  |  | 0 |  | 0 |  | 0 |  | 0
42 | PW4 | WALL MOUNTED POT RACK | MASTER EQUIPMENTS | 1900X300 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
43 | PW5 | THREE SINK POT WASH UNIT | MASTER EQUIPMENTS | 2500X 750X 750 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
44 | PW6 | FLOOR DRAINSS with SS Gratings | MASTER EQUIPMENTS | 1550X350X150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
45 | PW7 | PRI RINSE SPRAY UNIT | TNS or equivalent |  | 5PR-8D12 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
46 | PW8 | FLOOR DRAINSS with SS Gratings | MASTER EQUIPMENTS | 550X550X150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
47 | PW9 | HOSE PIPE | TNS or equivalent | 527X498X162 | 5HR-242-01 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | MASALA GRINDING AREA | [6 empty] | 0 |  | 0 |  | 0 |  | 0
48 | MG1 | WALL MOUNTED HOOK STAND | Customised | 600X230 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
49 | MG2 | DOUGH MIXER 30 KG CAPACITY | ELECTROLUX or equivalent | 685x1050x1445 | XBE603B | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
50 | MG3 | PULVERISOR 1.5 HP | Customised |  | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
51 | MG4 | WORK TABLE WITH SINK | Customised | 750X700X850+150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
52 | MG6 | WALL MOUNTED DUEL DECK RACK | Customised | 750X300X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
53 | MG7 | MASALA GRINDER | Customised | 10 lit capacity |  | 2 |  |  | 0 |  | 0 |  | 0 |  | 0
54 | MG8 | FLOOR DRAIN with SS Gratings | Customised | 750X350X150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
54 | MG9 | UV Insect catchers / repellers | Bought out | Min. 18" long |  | 6 |  |  | 0 |  | 0 |  | 0 |  | 0
55 | MG10 | Certified Weighing Scal 50 kg | METTLER TOLEDO or equivalent |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
56 | [8 empty] | 0 |  | 0 |  | 0 |  | 0
|  | VEG SANITIZING ROOM | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
57 | VS1 | STORAGE RACK | Customised | 950X600X1800 | FABRICATED | 2 |  |  | 0 |  | 0 |  | 0 |  | 0
58 | VS2 | FLOOR DRAINSS with SS Gratings | Customised | 1000X350X150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
59 | VS3 | TWIN SINK UNIT | Customised | 1900X750X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
60 | VS4 | WALL MOUNTED RACK | Customised | 1900X375 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | WALK IN COOLER | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
61 | WI 1 | STORAGE RACK | CAMBRO or equivalent | 1800X600X1800 | CAMBRO | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
62 | WI3 | STORAGE RACK | CAMBRO or equivalent | 1375X600X1800 | CAMBRO | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
63 | WI4 | CHILLER WITH TWO PARTITION 1 FOR COOKED FOOD AND 1 FOR HALF COOKED/ RAW FOOD | TRUFROST or equivalent | 2500X4250X2100 | CHILLER | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
64 | WI6 | STORAGE RACK | Customised | 750 X 600 X 1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | THERAPEUTIC KITCHEN | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
65 | VP1 | HAND WASH SINK | Customised | 475 X 500 X 350 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
66 | VP2 | WORK TABLE WITH TWO UNDER SHELVES COVERED FROM LEFTS SIDE | Customised | 1800X700X850+150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
67 | VP3 | DUEL DECK WALL MOUNTED SHELVE | Customised | 1800X350X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
68 | VP5 | THREE DOOR UNDER COUNTER REFRIGRATOR | ELECTROLUX or equivalent | 1803x700x850 | AC1R3UAAA3 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
69 | VP6 | DUEL DECK WALL MOUNTED SHELVE | Customised | 1723X350X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
70 | VP7 | AIR CURTAIN ( DOOR) | AS PER MEP |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
71 | VP9 | DUEL DECK WALL MOUNTED SHELVE | Customised | 1800X350X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
72 | VP10 | WORK TABLE WITH SINK | Customised | 1800X700X850+150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | SET UP AREA | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
73 | ST1 | HOT TROLLIES | ELECTROLUX or equivalent | 770x885x1570 | BT1021H | 4 |  |  | 0 |  | 0 |  | 0 |  | 0
74 | ST3 | WORK TABLE WITH TWO UNDER SHELVES | Customised | 2000X750X 850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
75 | ST4 | WALL MOUNTED DUEL DECK SHELVES | Customised | 2000X375X600 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
76 | ST5 | HAND WASH SINK | Customised | 500 X 475 X 350 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
77 | ST 6 | Air curtain (Door) | AS PER MEP | AS PER DOOR SIZE |  | 2 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | DISH WASH | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
78 | DW1 | CLEAN DISH RACK | Customised | 900X600X1800 | FABRICATED | 3 |  |  | 0 |  | 0 |  | 0 |  | 0
79 | DW2 | SOILED DISH LANDING TABLE WITH OVER HEAD GLASS RACKS | Customised | 1900X775X900 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
80 | DW3 | GARBAGE BIN | BOUGHT OUT |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
81 | DW5 | DISH WASH SINK | Customised | 925X775X900 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
82 | DW6 | RACK TYPE DISHWASHER WITH DRYER | MEIKO or equivalent | 2150 x 835 x 1900 | Upster K-S 200 TR600 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
83 | DW8 | CLEAN DISH LANDING TABLE | Customised | 1700X770X900 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
84 | DW11 | HAND WASH SINK | Customised | 475 X 500 X 350 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | DRY STORE | [6 empty] | 0 |  | 0 |  | 0 |  | 0
85 | DS1 | STORAGE RACK | Customised | 1150X500X1800 |  | 3 |  |  | 0 |  | 0 |  | 0 |  | 0
86 | DS2 | STORAGE RACK | Customised | 1700X500X1800 |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | SERVING COUNTER | [6 empty] | 0 |  | 0 |  | 0 |  | 0
87 | SC1 | SS TOP FIVE G/N PAN HOT BAINE MARIE | Customised | 2100X700X850 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
88 | SC4 | 150 LIT WATER COOLER | BLUESTAR or equivalent | 812X612X1210 | SDLX150150BT | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
89 | SC5 | CLEAN GLASS RACK | Customised | 700X650X 1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
90 | D1 | FLOOR DRAINS with SS granting | Customised | 300X500X150 | FABRICATED | 7 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | FIFTH FLOOR PANTRY | [6 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
91 | FFP1 | CLEAN DISH RACK | MASTER EQUPIMENT | 900X600X1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
92 | FFP2 | DISH WASH SINK | MASTER EQUPIMENT | 775X775X900+300 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
93 | FFP3 | SOILED DISH LANDING TABLE WITH WALL MOUNTED GLASS RACKS | MASTER EQUPIMENT | 1575X775X900+300 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
94 | FFP4 | GARBAGE BIN | BOUGHT OUT |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
95 | FFP5 | PRI RINSE UNIT TABLE MOUNTED | TNS or equivalent |  | 5PR-8D12 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
96 | FFP6 | CLEAN GLASS RACK | MASTER EQUPIMENT | 700X650X1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
97 | FFP7 | WATER COOLER | BLUESTAR or equivalent | 665X485X1210 | SDLX6080BT | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
98 | FFP8 | HOT TROLLEY | ELECTROLUX or equivalent | 770x885x1570 | BT1021H | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
99 | FFP10 | 3X1 FOOD PAN BAINE MARIE ( SUNKEN IN SS TOP) | MASTER EQUPIMENT | 1180X650X900 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
100 | FFP12 | SS TOP COUNTER | MASTER EQUPIMENT | 2750 X 900X 900 | CIVIL | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0
|  | CMC | [6 empty] | 0 |  | 0 |  | 0 |  | 0
101 |  | CMC for 3rd year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
102 |  | CMC for 4th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
103 |  | CMC for 5th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
104 |  | CMC for 6th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
105 |  | CMC for 7th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0
|  | Total Value for Bid comparison | [6 empty] | 0 |  | 0 |  | 0 |  | 0

## L3 Locations
For all L3 sites (i.e. Tezpur, Kokrajhar, Lakhimpur, Darrang and Jorhat), total lowest BoQ of all these 5 sites shall be called L1 bidder and will be preferred for site wise award of contract. This means, there shall be one lowest bidder for all these 5 L3 sites. Hence, it is also mandatory to quote for all these 5 L3 sites otherwise bid shall be rejected
S no | EQP.NO. | NAME OF EQUIPMENT | IMP / LOAL | SIZE |  |  |  | Tezpur |  | Darrang |  | Kokrajar |  | Jorhat |  | Lakhimpur
|  |  | BRAND or its equivalent | WIDTH X DEPTH X HEIGTH (in MM) | Model or its Equivalent | Site wise QTY. | Applicable GST | Rate without GST | Value | Rate without GST | Value | Rate without GST | Value | Rate without GST | Value
1 | FFP1 | CLEAN DISH RACK | MASTER EQUPIMENT | 1300X600X1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | FFP2 | DISH WASH SINK | MASTER EQUPIMENT | 775X775X900+300 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3 | FFP3 | SOILED DISH LANDING TABLE WITH WALL MOUNTED GLASS RACKS | MASTER EQUPIMENT | 1900X775X900+300 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
4 | FFP4 | GARBAGE BIN | BOUGHT OUT |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 | FFP5 | PRI RINSE UNIT TABLE MOUNTED | TNS or equivalent |  | 5PR-8D12 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
6 | FFP6 | CLEAN GLASS RACK | MASTER EQUPIMENT | 700X650X1800 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
7 | FFP7 | WATER COOLER | BLUESTAR | 665X485X1210 | SDLX6080BT | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
8 | FFP8 | HOT TROLLEY | ELECTROLUX or equivalent | 770x885x1570 | BT1021H | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
9 | FFP9 | TWO DOOR UNDER COUNTER REFRIGRATOR | ELECTROLUX or equivalent | 1350x700x850 | AC1R2NAA3 | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
10 | FFP10 | 3X1 FOOD PAN BAINE MARIE ( SUNKEN IN GRANITE TOP) | MASTER EQUPIMENT | 1280X650X900 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
11 | FFP11 | SNEEZE GUARD WITH ONE SIDE LIGHT AND ONE SIDE HEATER AND LIGHT | MASTER EQUPIMENT | 2750X350X350 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
12 | FFP12 | UV Insect catchers / repellers | Bought out | Min. 18" long | FABRICATED | 4 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
13 | FFP13 | WORK TABLE WITH SINK | MASTER EQUPIMENT | 1500 X 700 X 850+ 150 | FABRICATED | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | CMC | [6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
13 |  | CMC for 3rd year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
14 |  | CMC for 4th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
15 |  | CMC for 5th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
16 |  | CMC for 6th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
17 |  | CMC for 7th year |  |  |  | 1 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Total Value for Bid comparison | [7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
Total of Tezpur, Kokrajhar, Lakhimpur, Darrang and Jorhat
|  | Comparative rates for prcie bid evaluation | 0