## L1 Guwahati
L1 Center (SCI, Guwahati)
[9 empty] | Toilet module |  |  | Nurse station display
Sr .No | Floor | Ward | Room | Beds | Toilet | Nurse Stations | Bed side handset module | Connection module | Pull Chord with cancel button | Pull Chord with Cancel Button-IO Bus | Lamp module | Display up to 10 beds | Display up to 30 beds | Display up to 20 beds | Controller
1 | Ground Floor | Patient holding area(part -A drawing phase - 1 | 1 | 3 | 1 | 1 | 3 | 3 | 1 |  |  | 1 | 1 |  | 1
2 | 2nd floor part A | Resuscitation | 1 | 2 | 1 | 1 | 2 | 2 |  | 1 |  | 1
3 |  | Observation | 1 | 4 | 1 |  | 4 | 4
4 | 3rd Floor Part A | Day Care | 1 | 10 | 1 |  | 10 | 10 |  | 1 |  | 1
5 | 4th Floor Part B | Single Room 1-8 | 8 | 8 | 8 | 1 | 8 | 8 | 8 |  | 8 |  | 1 |  | 1
6 |  | Suite Room 1-2 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2
7 |  | Deluxe Room 1-2 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2
8 |  | Twin sharing room 1-10 | 10 | 20 | 10 | 1 | 20 | 20 | 10 |  | 10 |  | 1 |  | 1
9 |  | General Wards (1-4) | 4 | 40 | 8 |  | 40 | 40 | 8 |  |  |  |  | 4 | 2
10 |  | General ard with 9 beds | 1 | 9 | 2 |  | 9 | 9 | 2 |  |  |  |  | 1
11 | 4th Floor Part A | High Dependancy unit | 1 | 8 | 2 | 1 |  |  |  | 2 |  | 1 |  |  | 1
12 |  | Chemotherapy | 1 | 25 | 2 | 2 | 25 | 25 | 2 |  | 1 | 1 | 2
|  | 5 Bedded Ward | 2 | 10 | 2 | 1 | 10 | 10 | 2 |  | 2 |  |  | 1 | 2
13 |  | palliative | 1 | 3 | 1 |  | 3 | 3 | 1 |  | 1
14 |  | palliative | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1
14 | 5th Floor Part B | Pre/Post Operation Room | 1 | 18 | 1 | 1 | 18 | 18 | 1 |  | 1 |  | 1 |  | 1
15 |  | BMT Rooms | 8 | 8 | 8 | 1 | 8 | 8 | 8 |  | 8 |  |  | 1
16 | 5th Floor Part A | CATH HOLD | 1 | 5 | 1 | 1 | 5 | 5 | 1 |  | 1 | 1 |  |  | 1
|  |  | 47 | 178 | 54 | 11 | 170 | 170 | 49 | 4 | 37 | 6 | 6 | 7 | 10

## L1 Max-Dibrugarh
L1 Max (Dibrugadh cancer centre, Assam)
[9 empty] | Toilet Module |  |  | Nurse station display
Sr. No | Floor | Ward | Room | Bed | Toilet | Nurse Station | Bedside Handset Modules without voice | Connection Module | Pull Chord with cancel button | Pull Chord with Cancel Button-IO Bus | Lamp Module | Display up to 10 beds | Display up to 30 beds | Display up to 20 beds | Controller
1 | Ground Floor | Emergency-Resuscitation beds | 1 | 4 | 1 | 1 | 4 | 4 |  | 1 |  | 1 |  |  | 1
2 | 2nd floor | Chemotherapy | 1 | 20 | 2 | 1 | 20 | 20 |  | 2 |  |  |  | 1
3 |  | Chemotherapy | 1 | 20 | 2 | 1 | 20 | 20 |  | 2 |  |  |  | 1 | 2
4 |  | High Dependancy Unit(HDU) | 1 | 11 | 1 |  | 11 | 11 |  | 1 |  | 1
5 |  | Intensive Care Unit(ICU) | 1 | 10 | 1 |  | 10 | 10 |  | 1
6 | 3rd floor | 6 Beds Ward | 3 | 18 | 3 |  | 18 | 18 | 3 |  | 2 |  | 1 |  | 1
7 |  | palliative rooms | 2 | 2 | 2 |  | 2 | 2 | 2
8 |  | Twin sharing room | 6 | 12 | 6 |  | 12 | 12 | 6 |  | 6 |  | 1
9 |  | 5 Beds ward | 3 | 15 | 3 |  | 15 | 15 | 3 |  | 3 |  |  | 1 | 1
10 |  | suite room | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1
11 |  | single room | 4 | 4 | 4 |  | 4 | 4 | 4 |  | 4 |  |  | 1
12 |  | Isolation | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2
13 | 4th Floor | Recovery Room | 1 | 6 | 1 | 1 | 6 | 6 | 1 |  | 1 | 1 |  |  | 1
14 |  | Pre-op | 1 | 2 | 1 |  | 2 | 2 | 1 |  | 1
15 |  | Pre-op | 1 | 4 | 1 | 1 | 4 | 4 | 1 |  |  | 1
16 |  | Post-op | 1 | 7 | 1 | 1 | 7 | 7 | 1 |  |  | 1
17 | 5th Floor | General Ward ( 3 Rooms) | 3 | 18 | 3 | 1 | 18 | 18 | 3 |  | 3 |  | 1 |  | 2
18 |  | Single Room (13 rooms) | 7 | 7 | 7 | 1 | 7 | 7 | 7 |  | 7 |  |  | 1
19 |  | Single Room (13 rooms) | 6 | 6 | 6 | 1 | 6 | 6 | 6 |  | 6 |  |  | 1
20 |  | Palliative care ( 2 rooms) | 2 | 2 | 1 |  | 2 | 2 | 2 |  | 2 |  |  |  | 1
21 |  | Twin Sharing Room ( 3 rooms) | 3 | 6 | 3 | 1 | 6 | 6 | 3 |  | 3 |  |  | 1
22 |  | Negative isolation room | 4 | 4 | 4 |  | 4 | 4 | 4 |  | 4
|  |  | 55 | 181 | 56 | 10 | 181 | 181 | 50 | 7 | 45 | 5 | 3 | 7 | 9

## L2 Matrix
Matrix for L2 Centers (Barpeta, Silchar and Diphu)
[9 empty] | Toilet Module |  | Lamp Module |  | Nurse station display
Sr.No | Floor | Ward | Rooms | Beds | Toilet | Nurse Stations | Patient handset without voice | Connecetion module-Bed side | Pull Chord with cancel button | Pull Chord with Cancel Button-IO Bus | Lamp Module IO Bus | Lamp Module Basic | Up to 10 Beds | Display Up to 20 Beds | Display Up to 30 beds | Controller Switch
1 | 1st floor | Emergency -Resuscitation | 1 | 4 | 1 | 1 | 4 | 4 |  | 1 |  |  | 1 |  |  | 1
2
3 | 2nd Floor | High Dependancy unit ( HDU) | 1 | 10 | 1 | 1 | 10 | 10 |  | 1 | 1 |  | 1
|  | HDU Isolation | 1 | 1 | 1 |  | 10 | 10 | 1
4 |  | Intensive Care Unit ( ICU ) | 1 | 10 | 3 | 2 | 10 | 10
5 |  | Chemotherapy (02-R-39) | 1 | 20 | 3 | 1 | 20 | 20 |  | 3 |  |  |  | 1 |  | 1
6 |  | Chemotherapy (02-R-27) | 1 | 20 | 3 | 1 | 20 | 20 |  | 3 |  |  |  | 1
7
8 | 3rd floor | Ward ( 6 Bed ) | 3 | 18 | 3 | 1 | 18 | 18 | 3 |  |  | 3 |  |  | 1 | 1
9 |  | palliative room | 2 | 2 | 1 |  | 2 | 2 | 1 |  |  | 1
10 |  | Twin sharing room | 6 | 12 | 6 |  | 12 | 12 | 6 |  |  | 6 |  |  | 1
11 |  | Ward ( 5 Bed ) | 3 | 15 | 3 |  | 15 | 15 | 3 |  |  | 3 |  | 1 |  | 1
12 |  | Suite Room | 1 | 1 | 1 |  | 1 | 1 | 1 |  |  | 1
13 |  | Single Room | 4 | 4 | 4 |  |  |  | 4 |  | 4 |  |  | 1
14 |  | Negative Isolation | 2 | 2 | 2 |  |  |  | 2 |  | 2
15
16 | 4th Floor | Pre-operation | 1 | 3 | 1 | 1 | 3 | 3 |  | 1 |  |  | 1 |  |  | 1
17 |  | Post operation | 1 | 4 | 1 | 1 | 4 | 4 |  | 1 |  |  | 1
18 |  | Recovery 6 Beds | 1 | 6 | 1 | 1 | 6 | 6 |  | 1 |  |  | 1
19 |  | Pre-operation | 1 | 2 | 1 |  |  |  |  | 1
| Total |  | 31 | 134 | 36 | 10 | 135 | 135 | 21 | 12 | 7 | 14 | 5 | 4 | 2 | 5

## L3 Matrix
Matrix for L3 Centers (Tezpur, Jorhat, Lakhimpur, Kokrajhar, Darrang)
[9 empty] | Toilet module |  |  | Nurse station terminal
Sr.No | Floor | Ward | Room | Beds | Toilet | Nurse Station | Bed side handset module | Connection Module-Bed side unit | Pull Chord with cancel button | Pull Chord with Cancel Button-IO Bus | Lamp Module | Display for 10 beds | Display for 30 beds | Display for 20 beds | Controller
1 | 2nd floor | Palliative care | 2 | 10 | 2 | 2 | 10 | 10 | 2 |  |  | 2 |  |  | 3
|  | Chemotherapy( 6 bed) | 1 | 6 | 3 | 3 | 6 | 6 |  | 3 | 1 | 1
3 |  | Chemotherapy( 3 beds) | 1 | 3 |  |  | 3 | 3 |  |  | 1
4 |  | Chemotherapy(4 chairs) | 1 | 4 |  | 3 | 4 | 4 |  | 3 | 1 |  | 1
5 |  | Chemotherapy(8 chairs) | 2 | 16 |  |  | 16 | 16 |  |  | 2
|  | Total | 7 | 39 | 5 | 8 | 39 | 39 | 2 | 6 | 5 | 3 | 1 | 0 | 3