## Sheet1
BoQ for SCI Guwahati and Dibrugarh-Pneumatic Tube System
S.No. | Component | Total Quantities (A) | Unit Price (B) | Applicable Taxes | Total cost Excluding GST ,(A*B)
1 | Control software with Supervision and with license dongle key | 2
2 | Side Channel Blowers | 4
3 | Standard / Pass Through Stations NW160 | 30
4 | Compact Stations NW160 | 22
5 | Horizontal Lab Receiving Station NW160 | 2
6 | Diverter Units NW160 | 14
7 | System Control Cable | 950
8 | Power booster pack | 8
9 | leak proof Carriers or Capsules NW160 70% | 256
10 | Optical Sensors Built-In | 21
11 | System Tube Network Bends Grey PVC NW160 | 160
12 | System Tube Network Straight Tube Grey PVC NW160 | 720
13 | System Tube Network Bends Transparent PVC NW160 | 20
14 | System Tube Network Straight Tube Transparent PVC NW160 | 24
15 | PVC Sleeves NW160 | 500
16 | Special PVC Glue 1ltr Cans | 11
17 | Special PVC Cleaner 1ltr Cans | 2
18 | 1D special filter housing with H13/H14 plus prefilter | 18
19 | 2D special filter housing with H13/H14 plus prefilter | 4
20 | UPS for PC | 2
21 | PC with Peripherals | 2
22 | Thread rod and nuts and bolts @ every 2 meters | 475
23 | Station Receiving Baskets | 52
24 | Station Carrier Racks | 52
25 | Receiving Basket Upholstery | 52
26 | Station Directory | 52
27 | Tube Clips | 325
28 | Tube Clamps | 80
29 | MCCB/RCB and Power cable from Isolater panel | For 2 Locations
Total Cost Excluding GST

## CMC_AMC
CAMC and LAMC (To be quoted in INR without Taxes)
Description | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year10
CAMC( Without consumables
CAMC( With consumables)*
LAMC
Consumables : Like Velcro belts , carrier, Carrier Covers, Air Filters etc.
Additional Items (Price to be quoted in INR will be fix for 5 Years)
Sr. No. | Year 3: Item Name; Year 4: Unit Rate ( without Taxes)
1 | Year 3: Velcro Belts
2 | Year 3: Carrier
3 | Year 3: Air Filters
4 | Year 3: RFID
5 | Year 3: Carrier covers